## Page 1
Trace Report
Fiber Panel: PFP-DISTRIBUTION3802PA-03 PFP Dist Pnl 432
Design: PSA-3802PA-BRVLMNYF-CHARLIE
Date: 10/7/2024

## sheet2
Object | Ports | Distance | Direction | From | To | Fibers |  | Object | Ports | Distance | Direction | From | To | Fibers |  | Object | Ports | Distance | Direction | From | To | Fibers
Fiber Panel: PFP-DISTRIBUTION3802PA-03 PFP Dist Pnl 432 | out:1:432 | 0.00 ft | Downstream
Cable: PFP TAIL 1 (432) |  | 105.39 ft | Downstream |  |  | 1:432 | -> | Fiber Splice: 1836341 |  | 105.39 ft | Downstream | 409:432 | 25:48
[8 empty] | Cable: PON18950IA (48) |  | 535.58 ft | Downstream |  |  | 25:48 | -> | Fiber Splice: 1836724 |  | 535.58 ft | Downstream | 37:42 | 1:6
[16 empty] | Cable: FST-TAIL F 19049 IVORRA CT (6) |  | 1159.88 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 19049 IVORRA CT | in:1:6 | 1159.88 ft | Downstream
[15 empty] | -> | Fiber Splice: 1836722 |  | 535.58 ft | Downstream | 43:48 | 1:6
[16 empty] | Cable: FST-TAIL F 18951 IRVONA AVE (6) |  | 535.58 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18951 IRVONA AVE | in:1:6 | 535.58 ft | Downstream
[8 empty] | Cable: PON18950IA (48) |  | 1131.90 ft | Downstream |  |  | 25:36 | -> | Fiber Splice: 1836734 |  | 1131.90 ft | Downstream | 31:36 | 1:6
[16 empty] | Cable: FST-TAIL F 18855 IRVONA AVE (6) |  | 1131.90 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18855 IRVONA AVE | in:1:6 | 1131.90 ft | Downstream
[8 empty] | Fiber Splice: 1836735 |  | 1131.90 ft | Downstream | 25:30 | 1:6
[8 empty] | Cable: FST-TAIL F 18823 IRVONA AVE (6) |  | 1309.36 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18823 IRVONA AVE | in:1:6 | 1309.36 ft | Downstream
Fiber Splice: 1836339 |  | 105.39 ft | Downstream | 1:408 | 25:432
Cable: PON18950IA (432) |  | 1908.14 ft | Downstream |  |  | 25:432 | -> | Fiber Splice: 1836444 |  | 1908.14 ft | Downstream | 385:432 | 25:72
[8 empty] | Cable: PON18950IA (72) |  | 1990.16 ft | Downstream |  |  | 25:72 | -> | Fiber Splice: 1836755 |  | 1990.16 ft | Downstream | 61:66 | 1:6
[16 empty] | Cable: FST-TAIL F 18875 IXONIA AVE (6) |  | 2353.28 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18875 IXONIA AVE | in:1:6 | 2353.28 ft | Downstream
[15 empty] | -> | Fiber Splice: 1836753 |  | 1990.16 ft | Downstream | 67:72 | 1:6
[16 empty] | Cable: FST-TAIL F 18917 IXONIA AVE (6) |  | 1990.16 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18917 IXONIA AVE | in:1:6 | 1990.16 ft | Downstream
[8 empty] | Cable: PON18950IA (72) |  | 2585.96 ft | Downstream |  |  | 25:60 | -> | Fiber Splice: 1836775 |  | 2585.96 ft | Downstream | 49:52 | 1:4
[16 empty] | Cable: FST-TAIL F 9894 189TH ST W (4) |  | 2752.35 ft | Downstream |  |  | 1:4
[16 empty] | Fiber Terminal: F 9894 189TH ST W | in:1:4 | 2752.35 ft | Downstream
[15 empty] | -> | Fiber Splice: 1836773 |  | 2585.96 ft | Downstream | 53:56 | 1:4
[16 empty] | Cable: FST-TAIL F 9926 189TH ST W (4) |  | 2585.96 ft | Downstream |  |  | 1:4
[16 empty] | Fiber Terminal: F 9926 189TH ST W | in:1:4 | 2585.96 ft | Downstream
[15 empty] | -> | Fiber Splice: 1836772 |  | 2585.96 ft | Downstream | 57:60 | 1:4
[16 empty] | Cable: FST-TAIL F 9958 189TH ST W (4) |  | 2760.75 ft | Downstream |  |  | 1:4
[16 empty] | Fiber Terminal: F 9958 189TH ST W | in:1:4 | 2760.75 ft | Downstream
[8 empty] | Cable: PON18950IA (72) |  | 3089.75 ft | Downstream |  |  | 25:48 | -> | Fiber Splice: 1836788 |  | 3089.75 ft | Downstream | 37:42 | 1:6
[16 empty] | Cable: FST-TAIL F 9814 189TH ST W (6) |  | 3257.46 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 9814 189TH ST W | in:1:6 | 3257.46 ft | Downstream
[15 empty] | -> | Fiber Splice: 1836787 |  | 3089.75 ft | Downstream | 43:48 | 1:6
[16 empty] | Cable: FST-TAIL F 9846 189TH ST W (6) |  | 3089.75 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 9846 189TH ST W | in:1:6 | 3089.75 ft | Downstream
[8 empty] | Cable: PON18950IA (72) |  | 3786.38 ft | Downstream |  |  | 25:36 | -> | Fiber Splice: 1836838 |  | 3786.38 ft | Downstream | 31:36 | 1:6
[16 empty] | Cable: FST-TAIL F 18870 IVORRA AVE (6) |  | 3786.38 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18870 IVORRA AVE | in:1:6 | 3786.38 ft | Downstream
[8 empty] | Fiber Splice: 1836840 |  | 3786.38 ft | Downstream | 25:30 | 1:6
[8 empty] | Cable: FST-TAIL F 18842 IVORRA AVE (6) |  | 3963.16 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18842 IVORRA AVE | in:1:6 | 3963.16 ft | Downstream
Cable: PON18950IA (432) |  | 2912.80 ft | Downstream |  |  | 25:384 | -> | Fiber Splice: 1836443 |  | 2912.80 ft | Downstream | 277:384 | 37:144
[8 empty] | Cable: PON18950IA (144) |  | 3542.97 ft | Downstream |  |  | 37:144 | -> | Fiber Splice: 1836892 |  | 3542.97 ft | Downstream | 133:138 | 1:6
[16 empty] | Cable: FST-TAIL F 18806 JAVELIN PATH (6) |  | 3722.84 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18806 JAVELIN PATH | in:1:6 | 3722.84 ft | Downstream
[15 empty] | -> | Fiber Splice: 1836891 |  | 3542.97 ft | Downstream | 139:144 | 1:6
[16 empty] | Cable: FST-TAIL F 18858 JAVELIN PATH (6) |  | 3542.97 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18858 JAVELIN PATH | in:1:6 | 3542.97 ft | Downstream
[8 empty] | Cable: PON18950IA (144) |  | 4086.22 ft | Downstream |  |  | 37:132 | -> | Fiber Splice: 1836907 |  | 4086.22 ft | Downstream | 121:126 | 1:6
[16 empty] | Cable: FST-TAIL F 18774 JAVELIN AVE (6) |  | 4319.59 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18774 JAVELIN AVE | in:1:6 | 4319.59 ft | Downstream
[15 empty] | -> | Fiber Splice: 1836906 |  | 4086.22 ft | Downstream | 127:132 | 1:6
[16 empty] | Cable: FST-TAIL F 18764 JAVELIN CT (6) |  | 4086.22 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18764 JAVELIN CT | in:1:6 | 4086.22 ft | Downstream
[8 empty] | Cable: PON18950IA (144) |  | 5053.59 ft | Downstream |  |  | 37:120 | -> | Fiber Splice: 1837060 |  | 5053.59 ft | Downstream | 97:102 | 1:6
[16 empty] | Cable: FST-TAIL F 18798 JAYHAWK (6) |  | 5328.84 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18798 JAYHAWK CT | in:1:6 | 5328.84 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837059 |  | 5053.59 ft | Downstream | 103:108 | 1:6
[16 empty] | Cable: FST-TAIL F 18861 JAVELIN WAY (6) |  | 5556.44 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18861 JAVELIN WAY | in:1:6 | 5556.44 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837055 |  | 5053.59 ft | Downstream | 109:114 | 1:6
[16 empty] | Cable: FST-TAIL F 18750 JAVELIN AVE (6) |  | 5053.59 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18750 JAVELIN AVE | in:1:6 | 5053.59 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837057 |  | 5053.59 ft | Downstream | 115:120 | 1:6
[16 empty] | Cable: FST-TAIL F 18758 JAVELIN AVE (6) |  | 5302.63 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18758 JAVELIN AVE | in:1:6 | 5302.63 ft | Downstream
[8 empty] | Cable: PON18950IA (144) |  | 5492.89 ft | Downstream |  |  | 37:96 | -> | Fiber Splice: 1837093 |  | 5492.89 ft | Downstream | 85:90 | 1:6
[16 empty] | Cable: FST-TAIL F 18761 JAYHAWK CT (6) |  | 5861.35 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18761 JAYHAWK CT | in:1:6 | 5861.35 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837092 |  | 5492.89 ft | Downstream | 91:96 | 1:6
[16 empty] | Cable: FST-TAIL F 18786 JAYHAWK CT (6) |  | 5678.63 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18786 JAYHAWK CT | in:1:6 | 5678.63 ft | Downstream
[8 empty] | Cable: PON18950IA (144) |  | 6052.32 ft | Downstream |  |  | 37:84 | -> | Fiber Splice: 1837116 |  | 6052.32 ft | Downstream | 73:78 | 1:6
[16 empty] | Cable: FST-TAIL F 10399 188TH ST W (6) |  | 6235.17 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 10399 188TH ST W | in:1:6 | 6235.17 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837113 |  | 6052.32 ft | Downstream | 79:84 | 1:6
[16 empty] | Cable: FST-TAIL F 10383 188TH ST W (6) |  | 6052.32 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 10383 188TH ST W | in:1:6 | 6052.32 ft | Downstream
[8 empty] | Cable: PON18950IA (144) |  | 6715.22 ft | Downstream |  |  | 37:72 | -> | Fiber Splice: 1837121 |  | 6715.22 ft | Downstream | 61:66 | 1:6
[16 empty] | Cable: FST-TAIL F 18710 JAROSITE CT (6) |  | 7119.00 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18710 JAROSITE CT | in:1:6 | 7119.00 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837120 |  | 6715.22 ft | Downstream | 67:72 | 1:6
[16 empty] | Cable: FST-TAIL S 18758 JAROSITE CT (6) |  | 6715.22 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: S 18758 JAROSITE CT | in:1:6 | 6715.22 ft | Downstream
[8 empty] | Cable: PON18950IA (144) |  | 7674.02 ft | Downstream |  |  | 37:60 | -> | Fiber Splice: 1837125 |  | 7674.02 ft | Downstream | 49:60 | 1:12
[16 empty] | Cable: FST-TAIL F 18664 KENWOOD TRL (12) |  | 7674.02 ft | Downstream |  |  | 1:12
[16 empty] | Fiber Terminal: F 18664 KENWOOD TRL | in:1:12 | 7674.02 ft | Downstream
[8 empty] | Cable: PON18950IA (144) |  | 8644.20 ft | Downstream |  |  | 37:48
Cable: PON18950IA (432) |  | 3997.59 ft | Downstream |  |  | 25:276 | -> | Fiber Splice: 1836408 |  | 3997.59 ft | Downstream | 253:276 | 25:48
[8 empty] | Cable: PON18950IA (48) |  | 5031.15 ft | Downstream |  |  | 25:48 | -> | Fiber Splice: 1837128 |  | 5031.15 ft | Downstream | 37:42 | 1:6
[16 empty] | Cable: FST-TAIL F 18989 JEWEL CT (6) |  | 5418.78 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18989 JEWEL CT | in:1:6 | 5418.78 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837127 |  | 5031.15 ft | Downstream | 43:48 | 1:6
[16 empty] | Cable: FST-TAIL F 18923 JEWEL CT (6) |  | 5149.17 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 18923 JEWEL CT | in:1:6 | 5149.17 ft | Downstream
[8 empty] | Cable: PON18950IA (48) |  | 5696.86 ft | Downstream |  |  | 25:36
[8 empty] | Fiber Splice: 1837131 |  | 5696.86 ft | Downstream | 25:36 | 1:12
[8 empty] | Cable: FST-TAIL F 18873 KENWOOD DR (12) |  | 5696.86 ft | Downstream |  |  | 1:12
[8 empty] | Fiber Terminal: F 18873 KENWOOD DR | in:1:12 | 5696.86 ft | Downstream
Cable: PON18950IA (432) |  | 4677.71 ft | Downstream |  |  | 25:252 | -> | Fiber Splice: 1836346 |  | 4677.71 ft | Downstream | 205:252 | 1:48
[8 empty] | Cable: PON18950IA (48) |  | 4759.73 ft | Downstream |  |  | 1:48 | -> | Fiber Splice: 1837148 |  | 4759.73 ft | Downstream | 25:36 | 1:12
[16 empty] | Cable: FST-TAIL F 19055 JORDAN TRL (12) |  | 4759.73 ft | Downstream |  |  | 1:12
[16 empty] | Fiber Terminal: F 19055 JORDAN TRL | in:1:12 | 4759.73 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837147 |  | 4759.73 ft | Downstream | 37:44 | 1:8
[16 empty] | Cable: FST-TAIL F 19062 JORDAN TRL (8) |  | 5177.08 ft | Downstream |  |  | 1:8
[16 empty] | Fiber Terminal: F 19062 JORDAN TRL | in:1:8 | 5177.08 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837145 |  | 4759.73 ft | Downstream | 45:48 | 1:4
[16 empty] | Cable: FST-TAIL F 19061 JORDAN TRL (4) |  | 4933.43 ft | Downstream |  |  | 1:4
[16 empty] | Fiber Terminal: F 19061 JORDAN TRL | in:1:4 | 4933.43 ft | Downstream
[8 empty] | Cable: PON18950IA (48) |  | 5498.37 ft | Downstream |  |  | 1:24 | -> | Fiber Splice: 1837328 |  | 5498.37 ft | Downstream | 13:18 | 1:6
[16 empty] | Cable: FST-TAIL F 19165 JEWEL PATH (6) |  | 5712.89 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 19165 JEWEL PATH | in:1:6 | 5712.89 ft | Downstream
[15 empty] | -> | Fiber Splice: 1837327 |  | 5498.37 ft | Downstream | 19:24 | 1:6
[16 empty] | Cable: FST-TAIL F 19121 JEWEL PATH (6) |  | 5498.37 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 19121 JEWEL PATH | in:1:6 | 5498.37 ft | Downstream
[8 empty] | Cable: PON18950IA (48) |  | 6170.19 ft | Downstream |  |  | 1:12 | -> | Fiber Splice: 1837371 |  | 6170.19 ft | Downstream | 7:12 | 1:6
[16 empty] | Cable: FST-TAIL F 19177 JEWEL PATH (6) |  | 6170.19 ft | Downstream |  |  | 1:6
[16 empty] | Fiber Terminal: F 19177 JEWEL PATH | in:1:6 | 6170.19 ft | Downstream
[8 empty] | Fiber Splice: 1837372 |  | 6170.19 ft | Downstream | 1:6 | 1:6
[8 empty] | Cable: FST-TAIL F 19217 JEWEL PATH (6) |  | 6454.06 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 19217 JEWEL PATH | in:1:6 | 6454.06 ft | Downstream
Fiber Splice: 1837583 |  | 4677.71 ft | Downstream | 25:204 | 109:288
Cable: PON18950IA (288) |  | 5290.03 ft | Downstream |  |  | 109:288 | -> | Fiber Splice: 1837571 |  | 5290.03 ft | Downstream | 277:282 | 1:6
[8 empty] | Cable: FST-TAIL F 18984 JORDAN TRL (6) |  | 5790.16 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18984 JORDAN TRL | in:1:6 | 5790.16 ft | Downstream
[7 empty] | -> | Fiber Splice: 1837570 |  | 5290.03 ft | Downstream | 283:288 | 1:6
[8 empty] | Cable: FST-TAIL F 19025 JORDAN TRL (6) |  | 5290.03 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 19025 JORDAN TRL | in:1:6 | 5290.03 ft | Downstream
Cable: PON18950IA (288) |  | 6330.95 ft | Downstream |  |  | 109:276 | -> | Fiber Splice: 1837577 |  | 6330.95 ft | Downstream | 265:270 | 1:6
[8 empty] | Cable: FST-TAIL F 18904 JORDAN TRL (6) |  | 6512.10 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18904 JORDAN TRL | in:1:6 | 6512.10 ft | Downstream
[7 empty] | -> | Fiber Splice: 1837576 |  | 6330.95 ft | Downstream | 271:276 | 1:6
[8 empty] | Cable: FST-TAIL F 18936 JORDAN TRL (6) |  | 6330.95 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18936 JORDAN TRL | in:1:6 | 6330.95 ft | Downstream
Cable: PON18950IA (288) |  | 7016.25 ft | Downstream |  |  | 109:264 | -> | Fiber Splice: 1837429 |  | 7016.25 ft | Downstream | 241:252 | 37:48
[8 empty] | Cable: PON18950IA (48) |  | 7608.98 ft | Downstream |  |  | 37:48 | -> | Fiber Splice: 1837451 |  | 7608.98 ft | Downstream | 45:48 | 1:4
[16 empty] | Cable: FST-TAIL F 18774 JORDAN TRL (4) |  | 7608.98 ft | Downstream |  |  | 1:4
[16 empty] | Fiber Terminal: F 18774 JORDAN TRL | in:1:4 | 7608.98 ft | Downstream
[8 empty] | Fiber Splice: 1837452 |  | 7608.98 ft | Downstream | 37:44 | 1:8
[8 empty] | Cable: FST-TAIL F 18786 JORDAN CIR (8) |  | 7956.34 ft | Downstream |  |  | 1:8
[8 empty] | Fiber Terminal: F 18786 JORDAN CIR | in:1:8 | 7956.34 ft | Downstream
[7 empty] | -> | Fiber Splice: 1837432 |  | 7016.25 ft | Downstream | 253:258 | 1:6
[8 empty] | Cable: FST-TAIL F 18806 JORDAN TRL (6) |  | 7336.04 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18806 JORDAN TRL | in:1:6 | 7336.04 ft | Downstream
[7 empty] | -> | Fiber Splice: 1837436 |  | 7016.25 ft | Downstream | 259:264 | 1:6
[8 empty] | Cable: FST-TAIL F 18863 JOPLIN AVE (6) |  | 7016.25 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18863 JOPLIN AVE | in:1:6 | 7016.25 ft | Downstream
Cable: PON18950IA (288) |  | 7514.16 ft | Downstream |  |  | 109:240 | -> | Fiber Splice: 1837459 |  | 7514.16 ft | Downstream | 229:234 | 1:6
[8 empty] | Cable: FST-TAIL F 18775 JOPLIN AVE (6) |  | 7697.85 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18775 JOPLIN AVE | in:1:6 | 7697.85 ft | Downstream
[7 empty] | -> | Fiber Splice: 1837458 |  | 7514.16 ft | Downstream | 235:240 | 1:6
[8 empty] | Cable: FST-TAIL F 18801 JOPLIN AVE (6) |  | 7514.16 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 18801 JOPLIN AVE | in:1:6 | 7514.16 ft | Downstream
Cable: PON18950IA (288) |  | 8108.84 ft | Downstream |  |  | 109:228 | -> | Fiber Splice: 1837486 |  | 8108.84 ft | Downstream | 205:216 | 37:48
[8 empty] | Cable: PON18950IA (48) |  | 8843.45 ft | Downstream |  |  | 37:48
[7 empty] | -> | Fiber Splice: 1837507 |  | 8108.84 ft | Downstream | 217:222 | 1:6
[8 empty] | Cable: FST-TAIL F 10542 188TH ST W (6) |  | 8515.37 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 10542 188TH ST W | in:1:6 | 8515.37 ft | Downstream
[7 empty] | -> | Fiber Splice: 1837502 |  | 8108.84 ft | Downstream | 223:228 | 1:6
[8 empty] | Cable: FST-TAIL F 10639 188TH ST W (6) |  | 8236.10 ft | Downstream |  |  | 1:6
[8 empty] | Fiber Terminal: F 10639 188TH ST W | in:1:6 | 8236.10 ft | Downstream
Cable: PON18950IA (288) |  | 11345.43 ft | Downstream |  |  | 109:204